## ISO 15686
This reference is provided as a resource and is not an endorsement of any given standard, framework, or certification. This is also not presented as a comprehensive list of commercial real estate formal and industry standards. Different regions of the globe may have local or preferred standards that may not be listed here. Suggested additions, updates, or corrections to this reference may be submitted at https://bit.ly/3G7o81i.
Verson: 3.0 | 2026-01-15
ISO 15686: Buildings and constructed assets — Service life planning
Lifecycle Phase | Description
Inception and Feasibility | Involves initial project scoping, feasibility studies, financial analysis, risk assessment, and setting project objectives and requirements.
Design | This phase includes developing architectural and engineering designs, creating detailed specifications, and planning for the building’s lifecycle. It also considers sustainability and regulatory compliance.
Construction | Covers all activities related to building construction, including site preparation, structural work, system installations, and quality control. Resource management and adherence to project timelines and costs are key aspects.
Commissioning | In this phase, all building systems and components are tested and verified to ensure they meet design specifications and function correctly. This includes functional performance testing, systems calibration, and preparing operations staff for the building’s use.
Operations | This phase focuses on the day-to-day management of the building. It includes managing the use of building systems, energy management, tenant relations, security, and other operational activities to ensure the building operates smoothly and efficiently.
Maintenance | This phase involves the routine and preventive upkeep of the building's systems and infrastructure to ensure longevity and performance. It includes regular inspections, repairs, upgrades, and adherence to maintenance schedules to prevent system failures and extend the building's life.
Renovation or Retrofit | Includes the modification, updating, or upgrading of existing building components or systems to improve functionality, energy efficiency, compliance with new standards, or aesthetic appeal. This phase can occur multiple times during the building's lifecycle.
End-of-Life | The final phase involves decommissioning the building, which may include demolition, repurposing, or major renovations. This phase also covers the safe disposal or recycling of materials and site restoration, if necessary.

## CRE Standards
Category | Subcategory | Standard Name | Publishing Organization | Classification | Publication Date | Primary Regions | URL to standard website
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | AVIXA Standards | Audiovisual and Integrated Experience Association | Standard | Various | Global | https://www.avixa.org/standards
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | IEC 60958-1:2021 - Digital audio interface - Part 1: General | International Electrotechnical Commission | Standard | 2021 | Global | https://webstore.iec.ch/en/publication/62829
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | SMPTE ST 2110 Professional Media Over Managed IP Networks | Society of Motion Picture and Television Engineers | Standard | 2019 | Global | https://www.smpte.org/standards/st2110
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | VESA Mounting Interface Standard Family of Standards | VESA | Standard | Various | Global | https://vesa.org/mounting-standard/
Audio-Visual Systems, Signage and Displays | Signage and Display Technologies | DICOM PS3.14 - Grayscale Standard Display Function, applicable for medical imaging | Digital Imaging and Communications in Medicine (DICOM) | Standard | 2024 | Global | https://www.dicomstandard.org/current
Audio-Visual Systems, Signage and Displays | Signage and Display Technologies | VESA Mounting Interface Standard (MIS) - Standards for mounting flat-panel displays | VESA | Standard | 2010 | Global | https://vesa.org/mounting-standard/
Audio-Visual Systems, Signage and Displays | Water Use Efficiency | ISO 46001:2019 Water efficiency management systems | International Organization for Standardization | Standard | 2019 | Global | https://www.iso.org/standard/70356.html
Building Design Specifications | Mechanical Standards | International Green Construction Code | International Code Council, ASHRAE, AIA, USGBC | Standard | 2021 | Global | https://www.iccsafe.org/products-and-services/i-codes/igcc/
Building Design Specifications | Structural Standards | IIBEC Building Enclosure Certifications | International Institute of Building Enclosure Consultants | Certification | Various | Global | https://iibec.org/credentials/
Building Design Specifications | Various | ANSI/BICSI 002-2024 Data Center Design and Implementation Best Practices | Building Industry Consulting Service International | Standard | 2024 | United States | https://shop.bicsi.org/ansi-bicsi-002-2024-the-standard-for-data-center-design-digital-version
Building Design Specifications | Various | BS EN 50600-1:2019 Information technology. Data centre facilities and infrastructures General concepts | European Committee for Standardization, European Committee for Electrotechnical Standardization | Standard | 2019 | European Union | https://knowledge.bsigroup.com/products/information-technology-data-centre-facilities-and-infrastructures-general-concepts/standard
Building Design Specifications | Various | European Committee for Standardization (CEN) | European Committee for Standardization (CEN) | Standard |  | European Union | https://www.cen.eu/
Building Design Specifications | Various | ISO/IEC 22237:2021 Information technology — Data Center Facilities and Infrastructures | International Organization for Standardization, International Electrotechnical Commission | Standard | 2021 | Global | https://www.iso.org/standard/73599.html
Building Design Specifications | Various | RICS New Rules of Measurement | RICS | Standard | 2021 | United Kingdom | https://www.rics.org/standards/standards/nrm-new-rules-of-measurement/
Building Design Specifications | Various | WiredScore Certifications | WiredScore | Certification | Various | Global | https://wiredscore.com/certification/
Building Lifecycle Management | Maintenance | Cleaning Industry Management Standard (CIMS) | ISSA | Standard | 2025 | Global | https://cims.issa.com/
Building Lifecycle Management | Maintenance | Cleaning Industry Management Standard (CIMS) Certification | ISSA | Certification | 2025 | Global | https://cims.issa.com/
Building Lifecycle Management | Maintenance | GBAC STAR Facility Accreditation | Global Biorisk Advisory Council (GBAC) | Certification | 2024 | Global | https://gbac.issa.com/
Building Lifecycle Management | Maintenance | Green Seal ((Ecolabel Certification) | Green Seal | Certification | various | Global | https://greenseal.org/certification/
Building Lifecycle Management | Maintenance | Green Seal (Cleaning-Products Standards) | Grean Seal | Standard | Various | Global | https://greenseal.org/green-seal-standards/standards-list/
Building Lifecycle Management | Operations | ANSI/BICSI 009-2024 Data Center Operations and Maintenance | Building Industry Consulting Service International | Standard | 2024 | United States | https://www.bicsi.org/standards/available-standards-store/single-purchase/bicsi-009-2024-data-center-operations-and-maintenance
Building Lifecycle Management | Operations | BOMA 360 Performance Program for Commercial Buildings | Building Owners and Managers Association | Framework | Various | Global | https://www.boma.org/research-resources/boma-360
Building Lifecycle Management | Operations | Certified Educational Facilites Professional (CEFP) | APPA | Certification | 2024 | United States | https://www.appa.org/cefp/
Building Lifecycle Management | Operations | Certified Health Care Facility Manager (CHFM) | American Hospital Association (AHA) | Certification | 2024 | United States | https://www.aha.org/career-resources/certification-center/chfm
Building Lifecycle Management | Operations | IFMA FMP, SFP, CFM Certifications | International Facilities Management Association | Certification | Various | Global | https://www.ifma.org/credentials/
Building Lifecycle Management | Operations | ISO 41001:2018 Facility management — Management systems | International Organization for Standardization | Standard | 2018 | Global | https://www.iso.org/standard/68472.html
Building Lifecycle Management | Whole Life | ISO 15686-1:2011 Buildings and constructed assets — Service life planning | International Organization for Standardization | Standard | 2011 | Global | https://www.iso.org/standard/45851.html
Building Lifecycle Management | Whole Life | ISO 9001:2015 Quality management systems — Requirements | International Organization for Standardization | Standard | 2015 | Global | https://www.iso.org/standard/62085.html
Building Lifecycle Management | Whole Life | U.S. Department of Energy - Better Buildings Initiative | U.S. Department of Energy | Framework | Various | United States | https://www.energy.gov/betterbuildings
Circular Economy Standards | Environmental Product Declarations (EPD) | ISO 21930 (Environmental Declarations of Building Products) | International Standards Organization (ISO) | Standard | 2017 | Global | https://www.iso.org/standard/61697.html
Circular Economy Standards | Framework | BS 8001:2017 Framework for implementing the principles of the circular economy in organization | British Standards Institute | Framework | 2017 | UK | https://knowledge.bsigroup.com/products/framework-for-implementing-the-principles-of-the-circular-economy-in-organizations-guide-1
Circular Economy Standards | Framework | Circular Economy Institute Certificates | Circular Economy Institute | Certification | Various | Global | https://www.circular-economy.institute/
Decarbonization Standards | Carbon Footprint Reduction | ISO 14067:2018 Greenhouse gases — Carbon footprint of products | International Organization for Standardization | Standard | 2018 | Global | https://www.iso.org/standard/71206.html
Decarbonization Standards | Net-Zero Carbon Strategies | Carbon Leadership Forum Toolkits | Carbon Leadership Forum | Framework | Various | Global | https://carbonleadershipforum.org/resource-library
Energy Performance Standards | Energy Efficiency Guidelines | ANSI/ASHRAE/IES Standard 90.1-2022 Energy Standard for Buildings Except Low-Rise Residential Buildings | American Society of Heating, Refrigerating and Air-Conditioning Engineers | Standard | 2022 | Global | https://www.ashrae.org/technical-resources/bookstore/standard-90-1
Energy Performance Standards | Energy Efficiency Guidelines | EN 15232:2015 Energy Performance of Buildings - Impact of Building Automation, Controls, and Building Management | European Committee for Standardization | Standard | 2015 | European Union | https://knowledge.bsigroup.com/products/energy-performance-of-buildings-impact-of-building-automation-controls-and-building-management/standard
Energy Performance Standards | Energy Efficiency Guidelines | ISO 50001: Energy management systems — Requirements with guidance for use | International Standards Organization (ISO) | Standard | 2018 | Global | https://www.iso.org/standard/69426.html
Energy Performance Standards | Energy Efficiency Guidelines | ISO 52000-1: Energy performance of buildings — Overarching EPB framework | International Standards Organization (ISO) | Standard | 2017 | Global | https://www.iso.org/standard/65601.html
Measurement Standards | Performance Measurement | National Environmental Balancing Bureau Certifications | National Environmental Balancing Bureau | Certification | Various | Global | https://www.nebb.org/certification-program/
Measurement Standards | Performance Measurement | RESET Air | RESET | Standard | 2024 | Global | https://reset.build/standard/air
Measurement Standards | Performance Measurement | RESET Embodied Carbon | RESET | Standard | 2024 | Global | https://reset.build/standard/embodied
Measurement Standards | Performance Measurement | RESET Embodied Circularity | RESET | Standard | 2024 | Global | https://reset.build/standard/embodied
Measurement Standards | Performance Measurement | RESET Embodied Health | RESET | Standard | 2024 | Global | https://reset.build/standard/embodied
Measurement Standards | Performance Measurement | RESET Energy | RESET | Standard | 2024 | Global | https://reset.build/standard/energy
Measurement Standards | Performance Measurement | RESET Waste | RESET | Standard | 2024 | Global | https://reset.build/standard/waste
Measurement Standards | Performance Measurement | RESET Water | RESET | Standard | 2024 | Global | https://reset.build/standard/water
Reporting Frameworks | Benchmarking | Global Reporting Initiative Standards | Global Reporting Initiative | Standard | 2021 | Global | https://www.globalreporting.org/standards/
Reporting Frameworks | Benchmarking | GRESB Real Estate Assessment | Global Real Estate Sustainability Benchmark | Framework | 2024 | Global | https://www.gresb.com/standards/real-estate-standards/
Reporting Frameworks | ESG | Carbon Disclosure Project | Carbon Disclosure Project | Framework | 2024 | Global | https://www.cdp.net/
Reporting Frameworks | ESG | IFRS Sustainability Disclosure Standards | IFRS Foundation | Standard | 2024 | Global | https://www.ifrs.org/issb/standards/
Reporting Frameworks | Finacial Reporting | APPA 1000 Total Cost of Ownership Standard | APPA | Standard | 2020 | United States | https://www1.appa.org/bookstore/product_browse.cfm?itemnumber=1715
Reporting Frameworks | Finacial Reporting | EPRA Public Real Estate Reporting Guidelines | European Public Real Estate Association | Framework | 2024 | European Union | https://www.epra.com/activities/sustainability/bpr-guidelines
Reporting Frameworks | Finacial Reporting | Generally Accepted Accounting Principles | Financial Accounting Standards Board | Standard | 2024 | United States | https://www.fasb.org/gaap
Reporting Frameworks | Finacial Reporting | International Financial Reporting Standards | IFRS Foundation | Standard | 2024 | Global | https://www.ifrs.org/issued-standards/list-of-standards/
Safety and Security | Business Continuity and Emergency Response | ISO 22301: Security and resilience — Business continuity management systems | International Standards Organization (ISO) | Standard | 2019 | Global | https://www.iso.org/standard/75106.html
Safety and Security | Cyber Security-Data Protection and Privacy | General Data Protection Regulation (GDPR) | European Union | Standard | 2018 | European Union | https://eur-lex.europa.eu/eli/reg/2016/679/oj
Safety and Security | Cyber Security-Data Protection and Privacy | ISO/IEC 27001: Information security management | International Standards Organization (ISO) | Standard | 2022 | Global | https://www.iso.org/standard/27001.html
Safety and Security | Cyber Security-Data Protection and Privacy | NIST Cybersecurity Framework | National Institute of Standards and Technology | Framework | Various | United States | https://www.nist.gov/cyberframework
Safety and Security | Cyber Security-Data Protection and Privacy | NIST SP 800-53, Rev. 5 Security and Privacy Controls for Federal Information Systems and Organizations | National Institute of Standards and Technology | Standard | 2020 | United States | httpsE://csrc.nist.gov/publications/detail/sp/800-53/rev-5/final
Safety and Security | Cyber Security-Network and Systems Security | Building Cyber Security Security Frameworks | Building Cyber Security | Framework | 2024 | Global | https://www.buildingcybersecurity.org/framework
Safety and Security | Cyber Security-Network and Systems Security | CIS Controls v8 | Center for Internet Security | Standard | 2023 | United States | https://www.cisecurity.org/controls/v8
Safety and Security | Occupational Health and Safety | Fitwel Global Healthy Building Standard | Fitwel | Standard | Various | Global | https://www.fitwel.org/standard
Safety and Security | Occupational Health and Safety | ISO 45001: Occupational health and safety management systems | International Standards Organization (ISO) | Standard | 2018 | Global | https://www.iso.org/standard/63787.html
Safety and Security | Occupational Health and Safety | ISO 45003:2021 Occupational health and safety management — Psychological health and safety at work | International Organization for Standardization | Standard | 2021 | Global | https://www.iso.org/standard/64283.html
Safety and Security | Occupational Health and Safety | NFPA 101 Life Safety Code | National Fire Protection Association | Standard | 2024 | North America | https://www.nfpa.org/codes-and-standards/1/0/1/nfpa-101
Safety and Security | Occupational Health and Safety | WELL Building Standard v2 | International WELL Building Institute | Standard | 2024 | Global | https://v2.wellcertified.com/
Safety and Security | Physical Security-Access Control and Surveillance | ASIS Security Practitioner Standards & Certifications | American Society for Industrial Security | Certification | Various | Global | https://www.asisonline.org/certification/
Safety and Security | Physical Security-Access Control and Surveillance | NFPA 730 Guide for Premises Security | National Fire Protection Association | Framework | 2023 | North America | https://www.nfpa.org/codes-and-standards/all-codes-and-standards/list-of-codes-and-standards/detail?code=730
Safety and Security | Physical Security-Access Control and Surveillance | UL 294 Standard for Safety Access Control System Units | Underwriters Laboratories | Standard | 2023 | Global | https://www.ul.com/services/access-control-system-testing-and-certification
Safety and Security | Risk Management | ISO 31000:2018 Risk Management - Guidelines | International Organization for Standardization (ISO) | Standard | 2018 | Global | https://www.iso.org/standard/65694.html
Specifications and Data Standards | Asset Management Systems | ISO 55001:2014 Asset management — Asset management system — Requirements | International Organization for Standardization | Standard | 2014 | Global | https://www.iso.org/standard/55089.html
Specifications and Data Standards | Building Information Modeling (BIM) | Information Delivery Specification (IDS) v1.0 | buildingSMART International | Standard | 2024 | Global | https://www.buildingsmart.org/standards/bsi-standards/information-delivery-specification-ids/
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 16739-1:2024 Industry Foundation Classes (IFC) for data sharing in the construction and facility management industries — Part 1: Data schema | International Standards Organization (ISO) | Standard | 2024 | Global | https://www.iso.org/standard/83501.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650: Organization and digitization of information about buildings and civil engineering works | International Standards Organization (ISO) | Standard | 2018 | Global | https://www.bsigroup.com/en-GB/products-and-services/standards/iso-19650-building-information-modelling-bim/
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-1:2018 — Concepts and principles | International Standards Organization (ISO) | Standard | 2018 | Global | https://www.iso.org/standard/68078.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-2:2018 — Delivery phase of the assets | International Standards Organization (ISO) | Standard | 2018 | Global | https://www.google.com/search?q=https://www.iso.org/standard/68079.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-3:2020 — Operational phase of the assets | International Standards Organization (ISO) | Standard | 2020 | Global | https://www.iso.org/standard/74640.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-4:2022 — Information exchange | International Standards Organization (ISO) | Standard | 2022 | Global | https://www.iso.org/standard/78246.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-5:2020 — Security-minded approach to information management | International Standards Organization (ISO) | Standard | 2020 | Global | https://www.iso.org/standard/74641.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-6:2025 — Health and safety information | International Standards Organization (ISO) | Standard | 2025 | Global | https://www.iso.org/standard/82705.html
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 23387:2025 Building information modelling (BIM) — Data templates for objects used in the life cycle of assets | International Organization for Standardization (ISO) | Standard | 2025 | Global | https://www.iso.org/standard/75403.html
Specifications and Data Standards | Building Information Modeling (BIM) | National BIM Standard-United States® (NBIMS-US) V4 | National Institute of Building Sciences (NIBS) | Standard | 2023 | United States | https://www.nibs.org/projects/national-bim-standard-united-states
Specifications and Data Standards | Classification System | ISO 12006-3:2022 Building construction — Organization of information about construction works | International Organization for Standardization | Standard | 2022 | Global | https://www.iso.org/standard/74932.html
Specifications and Data Standards | Classification System | ISO 4157-1:1998 Construction drawings - Designation systems - Part 1: Buildings and parts of buildings | International Organization for Standardization (ISO) | Standard | 1998 | Global | https://www.iso.org/standard/9923.html
Specifications and Data Standards | Classification System | ISO 4157-2:1998 Construction drawings - Designation systems - Part 2: Room names and numbers | International Organization for Standardization (ISO) | Standard | 1998 | Global | https://www.iso.org/standard/26190.html
Specifications and Data Standards | Classification System | ISO 4157-3:1998 Construction drawings - Designation systems - Part 3: Room identifiers | International Organization for Standardization (ISO) | Standard | 1998 | Global | https://www.iso.org/standard/26950.html
Specifications and Data Standards | Classification System | MasterFormat 2020 | Construction Specifications Institute | Standard | 2020 | North America | https://www.csiresources.org/standards/masterformat
Specifications and Data Standards | Classification System | OmniClass | Construction Specifications Institute | Standard | 2019 | North America | https://www.csiresources.org/standards/omniclass
Specifications and Data Standards | Classification System | UniFormat | Construction Specifications Institute | Standard | 2010 | North America | https://www.csiresources.org/standards/uniformat
Specifications and Data Standards | Classification System | Uptime Institute Data Cener Tier Classification System | Uptime Institute | Standard | Various | Global | https://uptimeinstitute.com/tiers
Specifications and Data Standards | Communication or Information Protocol | BACnet Standard | American Society of Heating, Refrigerating and Air-Conditioning Engineers | Standard | 2024 | Global | https://bacnet.org/
Specifications and Data Standards | Communication or Information Protocol | Industry Foundation Classes | buildingSMART Alliance | Standard | 2024 | Global | https://www.buildingsmart.org/standards/bsi-standards/industry-foundation-classes/
Specifications and Data Standards | Communication or Information Protocol | ISO 23081-1:2017 Information and documentation — Records management processes — Metadata for records | International Organization for Standardization | Standard | 2017 | Global | https://www.iso.org/standard/73172.html
Specifications and Data Standards | Communication or Information Protocol | ISO 29481-1:2016 Information Delivery Manual (IDM) — Methodology and format | International Organization for Standardization (ISO) | Standard | 2016 | Global | https://www.iso.org/standard/60553.html
Specifications and Data Standards | Communication or Information Protocol | ISO 29481-2:2012 Information Delivery Manual (IDM) — Interaction framework | International Organization for Standardization (ISO) | Standard | 2012 | Global | https://www.iso.org/standard/55691.html
Specifications and Data Standards | Communication or Information Protocol | ISO 29481-3:2022 Information Delivery Manual (IDM) — Data schema | International Organization for Standardization (ISO) | Standard | 2022 | Global | https://www.iso.org/standard/81261.html
Specifications and Data Standards | Communication or Information Protocol | KNX Standard | KNX Association | Standard | 2025 | Global | https://www.knx.org/knx-en/for-professionals/
Specifications and Data Standards | Communication or Information Protocol | LonWorks | LonMark International | Standard | Various | Global | https://www.lonmark.org/
Specifications and Data Standards | Data Modeling and Exchange | Brick: A Uniform Metadata Schema for Buildings | BrickSchema | Framework | 2021 | Global | https://brickschema.org/
Specifications and Data Standards | Data Modeling and Exchange | COBie | buildingSMART Alliance | Framework | 2022 | Global | https://www.buildingsmart.org/standards/cobie/
Specifications and Data Standards | Data Modeling and Exchange | Government Property Data Standard: GovS004-PDS010 | GOV.UK | Standard | 2023 | United Kingdom | https://www.gov.uk/government/publications/government-standard-govs-004-property-data
Specifications and Data Standards | Data Modeling and Exchange | Industry Data Model (IDM) | OSCRE | Standard | 2024 | Global | https://www.oscre.org/standards/industry-data-model
Specifications and Data Standards | Data Modeling and Exchange | ISO 8000-1:2022 Data Quality | International Organization for Standardization | Standard | 2022 | Global | https://www.iso.org/standard/83208.html
Specifications and Data Standards | Data Modeling and Exchange | ISO/IEC 38500:2024 Information technology — Governance of IT for the organization | International Organization for Standardization, International Electrotechnical Commission | Standard | 2024 | Global | https://www.iso.org/standard/56639.html
Specifications and Data Standards | Geospatial | Open Geospatial Consortium (OGC) Standards Family | Open Geospatial Consortium (OGC) | Standard |  | Global | https://www.ogc.org/standards/
Sustainability Standards | Environmental Impact Assessments | ASTM E3429-24 Standard Guide for Property Resilience Assessments | ASTM International | Standard | 2024 | North America | https://www.astm.org/e3429-24.html
Sustainability Standards | Environmental Impact Assessments | ISO 14001: Environmental management systems — Requirements | International Standards Organization (ISO) | Standard | 2015 | Global | https://www.iso.org/standard/60857.html
Sustainability Standards | Environmental Impact Assessments | ISO 14040:2006 Environmental management — Life cycle assessment — Principles and framework | International Organization for Standardization | Framework | 2006 | Global | https://www.iso.org/standard/37456.html
Sustainability Standards | Environmental Product Declarations (EPD) | ISO 21930:2017 Sustainability in buildings and civil engineering works — Environmental declaration of building products | International Organization for Standardization | Standard | 2017 | Global | https://www.iso.org/standard/61697.html
Sustainability Standards | Green Building Certifications | BOMA Best Building Certification Program | Building Owners and Managers Association Canada | Certification | 2024 | North America | https://bomabest.org/
Sustainability Standards | Green Building Certifications | BREEAM Communities | Building Research Establishment | Certification | 2024 | Global | https://www.breeam.com/technical-standards/communities/
Sustainability Standards | Green Building Certifications | BREEAM In-Use | Building Research Establishment | Certification | 2023 | Global | https://www.breeam.com/technical-standards/in-use/
Sustainability Standards | Green Building Certifications | BREEAM New Construction | Building Research Establishment | Certification | 2021 | Global | https://www.breeam.com/technical-standards/new-construction/
Sustainability Standards | Green Building Certifications | BREEAM Refurbishment and Fit-out | Building Research Establishment | Certification | 2022 | Global | https://www.breeam.com/technical-standards/refurbishment-and-fit-out/
Sustainability Standards | Green Building Certifications | LEED v4.1 BD+C: New Construction | U.S. Green Building Council | Certification | 2019 | Global | https://www.usgbc.org/credits/new-construction
Sustainability Standards | Green Building Certifications | LEED v4.1 Cities and Communities | U.S. Green Building Council | Certification | 2019 | Global | https://www.usgbc.org/leed/v41#cities-communities
Sustainability Standards | Green Building Certifications | LEED v4.1 Interior Design + Construction | U.S. Green Building Council | Certification | 2019 | Global | https://www.usgbc.org/leed/v41#idc
Sustainability Standards | Green Building Certifications | LEED v4.1 Operations + Maintenance | U.S. Green Building Council | Certification | 2019 | Global | https://www.usgbc.org/leed/v41#om
Sustainability Standards | Green Building Certifications | LEED v4.1 Residential | U.S. Green Building Council | Certification | 2019 | Global | https://www.usgbc.org/leed/v41#residential

## Standards-Filter Views
Category | Subcategory | Standard Name | Count
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | AVIXA Standards | 1
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | IEC 60958-1:2021 - Digital audio interface - Part 1: General | 1
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | SMPTE ST 2110 Professional Media Over Managed IP Networks | 1
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | VESA Mounting Interface Standard Family of Standards | 1
Audio-Visual Systems, Signage and Displays | Signage and Display Technologies | DICOM PS3.14 - Grayscale Standard Display Function, applicable for medical imaging | 1
Audio-Visual Systems, Signage and Displays | Signage and Display Technologies | VESA Mounting Interface Standard (MIS) - Standards for mounting flat-panel displays | 1
Audio-Visual Systems, Signage and Displays | Water Use Efficiency | ISO 46001:2019 Water efficiency management systems | 1
Building Design Specifications | Mechanical Standards | International Green Construction Code | 1
Building Design Specifications | Structural Standards | IIBEC Building Enclosure Certifications | 1
Building Design Specifications | Various | ANSI/BICSI 002-2024 Data Center Design and Implementation Best Practices | 1
Building Design Specifications | Various | BS EN 50600-1:2019 Information technology. Data centre facilities and infrastructures General concepts | 1
Building Design Specifications | Various | European Committee for Standardization (CEN) | 1
Building Design Specifications | Various | ISO/IEC 22237:2021 Information technology — Data Center Facilities and Infrastructures | 1
Building Design Specifications | Various | RICS New Rules of Measurement | 1
Building Design Specifications | Various | WiredScore Certifications | 1
Building Lifecycle Management | Operations | ANSI/BICSI 009-2024 Data Center Operations and Maintenance | 1
Building Lifecycle Management | Operations | BOMA 360 Performance Program for Commercial Buildings | 1
Building Lifecycle Management | Operations | Certified Educational Facilites Professional (CEFP) | 1
Building Lifecycle Management | Operations | Certified Health Care Facility Manager (CHFM) | 1
Building Lifecycle Management | Operations | IFMA FMP, SFP, CFM Certifications | 1
Building Lifecycle Management | Operations | ISO 41001:2018 Facility management — Management systems | 1
Building Lifecycle Management | Whole Life | ISO 15686-1:2011 Buildings and constructed assets — Service life planning | 1
Building Lifecycle Management | Whole Life | ISO 9001:2015 Quality management systems — Requirements | 1
Building Lifecycle Management | Whole Life | U.S. Department of Energy - Better Buildings Initiative | 1
Building Lifecycle Management | Maintenance | Cleaning Industry Management Standard (CIMS) Certification | 1
Building Lifecycle Management | Maintenance | GBAC STAR Facility Accreditation | 1
Building Lifecycle Management | Maintenance | Green Seal ((Ecolabel Certification) | 1
Building Lifecycle Management | Maintenance | Cleaning Industry Management Standard (CIMS) | 1
Building Lifecycle Management | Maintenance | Green Seal (Cleaning-Products Standards) | 1
Circular Economy Standards | Environmental Product Declarations (EPD) | ISO 21930 (Environmental Declarations of Building Products) | 1
Circular Economy Standards | Framework | BS 8001:2017 Framework for implementing the principles of the circular economy in organization | 1
Circular Economy Standards | Framework | Circular Economy Institute Certificates | 1
Decarbonization Standards | Carbon Footprint Reduction | ISO 14067:2018 Greenhouse gases — Carbon footprint of products | 1
Decarbonization Standards | Net-Zero Carbon Strategies | Carbon Leadership Forum Toolkits | 1
Energy Performance Standards | Energy Efficiency Guidelines | ANSI/ASHRAE/IES Standard 90.1-2022 Energy Standard for Buildings Except Low-Rise Residential Buildings | 1
Energy Performance Standards | Energy Efficiency Guidelines | EN 15232:2015 Energy Performance of Buildings - Impact of Building Automation, Controls, and Building Management | 1
Energy Performance Standards | Energy Efficiency Guidelines | ISO 50001: Energy management systems — Requirements with guidance for use | 1
Energy Performance Standards | Energy Efficiency Guidelines | ISO 52000-1: Energy performance of buildings — Overarching EPB framework | 1
Measurement Standards | Performance Measurement | National Environmental Balancing Bureau Certifications | 1
Measurement Standards | Performance Measurement | RESET Air | 1
Measurement Standards | Performance Measurement | RESET Embodied Carbon | 1
Measurement Standards | Performance Measurement | RESET Embodied Circularity | 1
Measurement Standards | Performance Measurement | RESET Embodied Health | 1
Measurement Standards | Performance Measurement | RESET Energy | 1
Measurement Standards | Performance Measurement | RESET Waste | 1
Measurement Standards | Performance Measurement | RESET Water | 1
Reporting Frameworks | Benchmarking | Global Reporting Initiative Standards | 1
Reporting Frameworks | Benchmarking | GRESB Real Estate Assessment | 1
Reporting Frameworks | ESG | Carbon Disclosure Project | 1
Reporting Frameworks | ESG | IFRS Sustainability Disclosure Standards | 1
Reporting Frameworks | Finacial Reporting | APPA 1000 Total Cost of Ownership Standard | 1
Reporting Frameworks | Finacial Reporting | EPRA Public Real Estate Reporting Guidelines | 1
Reporting Frameworks | Finacial Reporting | Generally Accepted Accounting Principles | 1
Reporting Frameworks | Finacial Reporting | International Financial Reporting Standards | 1
Safety and Security | Business Continuity and Emergency Response | ISO 22301: Security and resilience — Business continuity management systems | 1
Safety and Security | Cyber Security-Data Protection and Privacy | General Data Protection Regulation (GDPR) | 1
Safety and Security | Cyber Security-Data Protection and Privacy | ISO/IEC 27001: Information security management | 1
Safety and Security | Cyber Security-Data Protection and Privacy | NIST Cybersecurity Framework | 1
Safety and Security | Cyber Security-Data Protection and Privacy | NIST SP 800-53, Rev. 5 Security and Privacy Controls for Federal Information Systems and Organizations | 1
Safety and Security | Cyber Security-Network and Systems Security | Building Cyber Security Security Frameworks | 1
Safety and Security | Cyber Security-Network and Systems Security | CIS Controls v8 | 1
Safety and Security | Occupational Health and Safety | Fitwel Global Healthy Building Standard | 1
Safety and Security | Occupational Health and Safety | ISO 45001: Occupational health and safety management systems | 1
Safety and Security | Occupational Health and Safety | ISO 45003:2021 Occupational health and safety management — Psychological health and safety at work | 1
Safety and Security | Occupational Health and Safety | NFPA 101 Life Safety Code | 1
Safety and Security | Occupational Health and Safety | WELL Building Standard v2 | 1
Safety and Security | Physical Security-Access Control and Surveillance | ASIS Security Practitioner Standards & Certifications | 1
Safety and Security | Physical Security-Access Control and Surveillance | NFPA 730 Guide for Premises Security | 1
Safety and Security | Physical Security-Access Control and Surveillance | UL 294 Standard for Safety Access Control System Units | 1
Safety and Security | Risk Management | ISO 31000:2018 Risk Management - Guidelines | 1
Specifications and Data Standards | Asset Management Systems | ISO 55001:2014 Asset management — Asset management system — Requirements | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 16739-1:2024 Industry Foundation Classes (IFC) for data sharing in the construction and facility management industries — Part 1: Data schema | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650: Organization and digitization of information about buildings and civil engineering works | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-1:2018 — Concepts and principles | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-2:2018 — Delivery phase of the assets | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-3:2020 — Operational phase of the assets | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-4:2022 — Information exchange | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-5:2020 — Security-minded approach to information management | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 19650-6:2025 — Health and safety information | 1
Specifications and Data Standards | Building Information Modeling (BIM) | National BIM Standard-United States® (NBIMS-US) V4 | 1
Specifications and Data Standards | Building Information Modeling (BIM) | Information Delivery Specification (IDS) v1.0 | 1
Specifications and Data Standards | Building Information Modeling (BIM) | ISO 23387:2025 Building information modelling (BIM) — Data templates for objects used in the life cycle of assets | 1
Specifications and Data Standards | Classification System | ISO 12006-3:2022 Building construction — Organization of information about construction works | 1
Specifications and Data Standards | Classification System | MasterFormat 2020 | 1
Specifications and Data Standards | Classification System | OmniClass | 1
Specifications and Data Standards | Classification System | UniFormat | 1
Specifications and Data Standards | Classification System | Uptime Institute Data Cener Tier Classification System | 1
Specifications and Data Standards | Classification System | ISO 4157-1:1998 Construction drawings â€” Designation systems â€” Part 1: Buildings and parts of buildings | 1
Specifications and Data Standards | Classification System | ISO 4157-2:1998 Construction drawings â€” Designation systems â€” Part 2: Room names and numbers | 1
Specifications and Data Standards | Classification System | ISO 4157-3:1998 Construction drawings â€” Designation systems â€” Part 3: Room identifiers | 1
Specifications and Data Standards | Communication or Information Protocol | BACnet Standard | 1
Specifications and Data Standards | Communication or Information Protocol | Industry Foundation Classes | 1
Specifications and Data Standards | Communication or Information Protocol | ISO 23081-1:2017 Information and documentation — Records management processes — Metadata for records | 1
Specifications and Data Standards | Communication or Information Protocol | KNX Standard | 1
Specifications and Data Standards | Communication or Information Protocol | LonWorks | 1
Specifications and Data Standards | Communication or Information Protocol | ISO 29481-1:2016 Information Delivery Manual (IDM) — Methodology and format | 1
Specifications and Data Standards | Communication or Information Protocol | ISO 29481-2:2012 Information Delivery Manual (IDM) — Interaction framework | 1
Specifications and Data Standards | Communication or Information Protocol | ISO 29481-3:2022 Information Delivery Manual (IDM) — Data schema | 1
Specifications and Data Standards | Data Modeling and Exchange | Brick: A Uniform Metadata Schema for Buildings | 1
Specifications and Data Standards | Data Modeling and Exchange | COBie | 1
Specifications and Data Standards | Data Modeling and Exchange | Government Property Data Standard: GovS004-PDS010 | 1
Specifications and Data Standards | Data Modeling and Exchange | Industry Data Model (IDM) | 1
Specifications and Data Standards | Data Modeling and Exchange | ISO 8000-1:2022 Data Quality | 1
Specifications and Data Standards | Data Modeling and Exchange | ISO/IEC 38500:2024 Information technology — Governance of IT for the organization | 1
Specifications and Data Standards | Geospatial | Open Geospatial Consortium (OGC) Standards Family | 1
Sustainability Standards | Environmental Impact Assessments | ASTM E3429-24 Standard Guide for Property Resilience Assessments | 1
Sustainability Standards | Environmental Impact Assessments | ISO 14001: Environmental management systems — Requirements | 1
Sustainability Standards | Environmental Impact Assessments | ISO 14040:2006 Environmental management — Life cycle assessment — Principles and framework | 1
Sustainability Standards | Environmental Product Declarations (EPD) | ISO 21930:2017 Sustainability in buildings and civil engineering works — Environmental declaration of building products | 1
Sustainability Standards | Green Building Certifications | BOMA Best Building Certification Program | 1
Sustainability Standards | Green Building Certifications | BREEAM Communities | 1
Sustainability Standards | Green Building Certifications | BREEAM In-Use | 1
Sustainability Standards | Green Building Certifications | BREEAM New Construction | 1
Sustainability Standards | Green Building Certifications | BREEAM Refurbishment and Fit-out | 1
Sustainability Standards | Green Building Certifications | LEED v4.1 BD+C: New Construction | 1
Sustainability Standards | Green Building Certifications | LEED v4.1 Cities and Communities | 1
Sustainability Standards | Green Building Certifications | LEED v4.1 Interior Design + Construction | 1
Sustainability Standards | Green Building Certifications | LEED v4.1 Operations + Maintenance | 1
Sustainability Standards | Green Building Certifications | LEED v4.1 Residential | 1
Grand Total |  |  | 119
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## Category Summary
Category Summary | Count
Audio-Visual Systems, Signage and Displays
Audio-Visual Systems | 4
Signage and Display Technologies | 2
Water Use Efficiency | 1
Building Design Specifications
Mechanical Standards | 1
Structural Standards | 1
Various | 6
Building Lifecycle Management
Maintenance | 5
Operations | 6
Whole Life | 3
Circular Economy Standards
Environmental Product Declarations (EPD) | 1
Framework | 2
Decarbonization Standards
Carbon Footprint Reduction | 1
Net-Zero Carbon Strategies | 1
Energy Performance Standards
Energy Efficiency Guidelines | 4
Measurement Standards
Performance Measurement | 8
Reporting Frameworks
Benchmarking | 2
ESG | 2
Finacial Reporting | 4
Safety and Security
Business Continuity and Emergency Response | 1
Cyber Security-Data Protection and Privacy | 4
Cyber Security-Network and Systems Security | 2
Occupational Health and Safety | 5
Physical Security-Access Control and Surveillance | 3
Risk Management | 1
Specifications and Data Standards
Asset Management Systems | 1
Building Information Modeling (BIM) | 11
Classification System | 8
Communication or Information Protocol | 8
Data Modeling and Exchange | 6
Geospatial | 1
Sustainability Standards
Environmental Impact Assessments | 3
Environmental Product Declarations (EPD) | 1
Green Building Certifications | 10
Grand Total | 119

## Standards Categories
Category | Subcategory | Description
Audio-Visual Systems, Signage and Displays | Audio-Visual Systems | Design, installation, performance, and documentation expectations for audio-visual (AV) components such as conferencing, sound reinforcement, video distribution, and control systems. Supports consistent user experience, maintainability, and reliable operation across the building lifecycle. | Audio-Visual Systems, Signage and Displays | Building Design Specifications | Building Lifecycle Management | Circular Economy Standards | Decarbonization Standards | Energy Performance Standards | Measurement Standards | Reporting Frameworks | Safety and Security | Space and Occupancy | Specifications and Data Standards | Sustainability Standards | Waste Management Standards | Water Performance Standards
Audio-Visual Systems, Signage and Displays | Signage and Display Technologies | Digital signage, wayfinding, display hardware, content delivery, accessibility considerations, and operational controls. Enables consistent communication, occupant guidance, and safe, compliant deployment in public and tenant spaces. | Audio-Visual Systems | Architectural Standards | Inception and Feasibility | Environmental Product Declarations (EPD) | Carbon Footprint Reduction | Energy Audits | Performance Measurement | Benchmarking | Business Continuity and Emergency Response | Wellness and Wellbeing Standards | Asset Management Systems | Environmental Impact Assessments | Hazardous Waste Management | Water Quality Standards | None
Building Design Specifications | Architectural Standards | Building envelope, interior construction, materials, accessibility, durability, and functional performance of architectural elements. Establishes baseline requirements that influence lifecycle cost, maintainability, and occupant outcomes. | Signage and Display Technologies | Electrical Standards | Design | Framework | Net-Zero Carbon Strategies | Energy Efficiency Guidelines | Space Measurement | ESG | Cyber Security-Data Protection and Privacy |  | Building Information Modeling (BIM) | Green Building Certifications | Waste Reduction and Recycling | Water Use Efficiency
Building Design Specifications | Electrical Standards | Power distribution, grounding, lighting infrastructure, emergency power, and electrical safety requirements. Supports reliable operation, code compliance, and long-term serviceability of electrical systems. |  | Mechanical Standards | Construction | Material Reuse and Recycling |  | Grid Interactive Buildings |  | Finacial Reporting | Cyber Security-Network and Systems Security |  | Classification System
Building Design Specifications | Mechanical Standards | Heating, ventilation, and air conditioning (HVAC), mechanical equipment selection, controls interfaces, and performance requirements. Shapes energy use, indoor environmental conditions, and maintainability through the assetâ€™s service life. |  | Plumbing Standards | Operations | Product Lifecycle Assessment |  | Renewable Energy Integration |  |  | Occupational Health and Safety |  | Communication or Information Protocol
Building Design Specifications | Plumbing Standards | Potable water, sanitary drainage, stormwater interfaces, fixtures, backflow protection, and plumbing safety requirements. Reduces health risks and operational failures by standardizing design and installation expectations. |  | Structural Standards | Maintenance | [5 empty] | Physical Security-Access Control and Surveillance |  | Data Modeling and Exchange
Building Design Specifications | Structural Standards | Structural design loads, materials, connections, resilience, and inspection criteria. Ensures safety, durability, and predictable performance under normal operations and hazard conditions. |  | Various | Renovation or Retrofit | [5 empty] | Risk Management |  | Geospatial
Building Design Specifications | Various | Cross-cutting design standards not limited to a single discipline, such as fire protection coordination, acoustics, vertical transportation, or specialty building systems. Provides a practical home for specifications that affect multiple trades and lifecycle outcomes. |  |  | End-of-Life
Building Lifecycle Management | Inception and Feasibility | Early-stage decision guidance such as business case development, site due diligence, stakeholder requirements, and feasibility analysis. Ensures lifecycle objectives and constraints are defined before design commitments harden. |  |  | Whole Life
Building Lifecycle Management | Design | Design development guidance including information requirements, constructability, and lifecycle performance targets. Promotes decisions that reduce downstream operational risk and improve long-term asset outcomes.
Building Lifecycle Management | Construction | Project execution expectations for quality control, documentation, commissioning interfaces, and delivery requirements. Improves predictability and reduces handover gaps that commonly impair operations.
Building Lifecycle Management | Operations | Operating practices for building systems, performance monitoring, occupant services, and sustaining compliance. Focuses on repeatable operational control and measurable performance outcomes.
Building Lifecycle Management | Maintenance | Maintenance strategies, reliability practices, asset history requirements, and work management expectations. Supports consistent service delivery, risk reduction, and lifecycle planning through documented condition and performance data.
Building Lifecycle Management | Renovation or Retrofit | Upgrade and modernization guidance that supports change control while maintaining safety and continuity of operations. Emphasizes accurate documentation updates and decisions that account for remaining useful life and operational impacts.
Building Lifecycle Management | End-of-Life | End-of-service planning, hazardous material handling, asset disposition, and deconstruction activities. Supports compliance, cost control, and responsible recovery of materials and equipment.
Building Lifecycle Management | Whole Life | Lifecycle-spanning frameworks that connect decisions across phases using lifecycle cost, risk, performance, and sustainability measures. Supports governance models that treat the building as a long-term operating system rather than a one-time project.
Circular Economy Standards | Environmental Product Declarations (EPD) | Preparation, verification, and use of Environmental Product Declarations to disclose product impacts in a consistent format. Improves comparability of materials and supports procurement decisions tied to environmental performance.
Circular Economy Standards | Framework | Circular economy principles, definitions, and governance approaches that guide organizations toward reduced waste and improved resource efficiency. Establishes common language and decision rules for circular strategies across portfolios and supply chains.
Circular Economy Standards | Material Reuse and Recycling | Reuse and recycling processes, material quality requirements, and related documentation expectations. Supports safe material recovery and reduces waste sent to disposal.
Circular Economy Standards | Product Lifecycle Assessment | Life cycle assessment (LCA) methods, boundary conditions, and reporting conventions for products and materials. Enables consistent impact calculations that support design, specification, and reporting needs.
Decarbonization Standards | Carbon Footprint Reduction | Greenhouse gas (GHG) measurement and reduction methods for buildings, operations, and value chains. Supports decision-making based on quantified emissions and transparent accounting conventions.
Decarbonization Standards | Net-Zero Carbon Strategies | Definitions of net-zero targets, boundary conditions, validation expectations, and long-term management practices. Supports credible planning by clarifying what is counted, how progress is tracked, and how claims are substantiated.
Energy Performance Standards | Energy Audits | Energy audit methods, documentation requirements, and prioritization approaches for energy conservation measures. Supports consistent evaluation of opportunities and a defensible basis for investment decisions.
Energy Performance Standards | Energy Efficiency Guidelines | Prescriptive and performance-based guidance for improving building energy efficiency across systems and operations. Aligns design and operations with measurable energy outcomes.
Energy Performance Standards | Grid Interactive Buildings | Demand flexibility, controls, and coordination approaches that enable buildings to respond to grid conditions. Supports load management strategies that can improve resilience and reduce peak demand impacts.
Energy Performance Standards | Renewable Energy Integration | Safe design, interconnection, operation, and performance monitoring expectations for on-site or procured renewable energy resources. Supports reliable interconnection and long-term operability of renewable systems.
Measurement Standards | Performance Measurement | Metric definitions, calculation methods, normalization, and verification practices for operational and asset performance. Enables consistent comparisons over time and across sites.
Measurement Standards | Space Measurement | Methods for measuring, classifying, and reporting building area for leasing, valuation, and operational planning. Reduces disputes and supports consistent portfolio reporting.
Reporting Frameworks | Finacial Reporting | Reporting conventions for financial statements, asset valuation, capitalization practices, and disclosure expectations relevant to real estate. Supports consistent financial transparency for owners, investors, and regulators.
Reporting Frameworks | ESG | Environmental, social, and governance reporting structures, indicators, disclosure conventions, and assurance expectations. Supports credible communication of performance and risk to stakeholders.
Reporting Frameworks | Benchmarking | Methods for comparing building performance against peers, baselines, or targets using standardized measures. Supports operational improvement by making performance differences visible and measurable.
Safety and Security | Cyber Security-Data Protection and Privacy | Protection of sensitive information, privacy risk management, and controls for data access, retention, and use. Supports responsible handling of occupant, operational, and tenant-related data.
Safety and Security | Cyber Security-Network and Systems Security | Security controls for networks, endpoints, control systems, and configurations that support building operations. Reduces exposure to cyber incidents that can disrupt services or compromise safety.
Safety and Security | Physical Security-Access Control and Surveillance | Physical access control, monitoring, security system design, and operational procedures. Supports consistent protection of people, assets, and sensitive areas while aligning with legal and policy constraints.
Safety and Security | Business Continuity and Emergency Response | Preparedness, incident response, recovery planning, and continuity of critical functions. Supports structured response to disruptions ranging from local emergencies to extended outages.
Safety and Security | Risk Management | Risk identification, assessment, treatment, and monitoring practices across the asset lifecycle. Supports consistent governance by clarifying risk criteria, accountability, and documentation practices.
Safety and Security | Occupational Health and Safety | Workplace safety practices, hazard controls, training expectations, incident management, and compliance obligations. Supports safe operations for employees, contractors, and occupants.
Space and Occupancy | Wellness and Wellbeing Standards | Indoor environmental quality, occupant comfort, health-related building features, and supporting operational practices. Translates wellness goals into measurable requirements for design and ongoing operations.
Specifications and Data Standards | Asset Management Systems | Asset registers, hierarchy structures, lifecycle data requirements, and system-of-record practices used in enterprise asset management. Supports consistent asset accountability and decision-making across portfolios.
Specifications and Data Standards | Building Information Modeling (BIM) | Model-based information creation, coordination, exchange, and lifecycle use of building data. Supports reliable digital representation of the built asset for project delivery and downstream operations.
Specifications and Data Standards | Classification System | Taxonomies for classifying assets, spaces, systems, and information in consistent naming and grouping structures. Supports searchability, reporting consistency, and dependable aggregation across tools and stakeholders.
Specifications and Data Standards | Data Modeling and Exchange | Data structuring, mapping, schema definition, and exchange practices that preserve meaning across systems. Enables interoperability by ensuring information retains meaning when it moves between platforms.
Specifications and Data Standards | Communication or Information Protocol | System-to-system communication standards including interfaces, message conventions, and event publishing patterns. Improves reliability and security by standardizing how information is transmitted and interpreted.
Specifications and Data Standards | Geospatial | Location-based data standards including mapping conventions, coordinate reference systems, and spatial analytics requirements. Supports campus and portfolio use cases such as site planning, asset location, emergency response, and infrastructure coordination.
Sustainability Standards | Environmental Impact Assessments | Assessment methods for project and site environmental impacts, permitting considerations, and mitigation planning. Supports defensible evaluation of impacts across construction, operations, and end-of-life activities.
Sustainability Standards | Green Building Certifications | Certification systems and documentation practices that assess building performance across sustainability-related criteria. Provides structured scoring and third-party verification pathways that support consistent improvement planning.
Waste Management Standards | Hazardous Waste Management | Identification, handling, storage, transport, and disposal requirements for hazardous wastes. Supports compliance, worker safety, and reduced environmental harm.
Waste Management Standards | Waste Reduction and Recycling | Waste minimization planning, diversion measurement, recycling practices, and related reporting requirements. Supports consistent tracking and operational programs that reduce disposal volumes.
Water Performance Standards | Water Quality Standards | Potable water quality, treatment, testing, and risk controls, including legionella management where applicable. Supports occupant health and operational confidence in water systems.
Water Performance Standards | Water Use Efficiency | Water reduction guidance covering fixture performance, system design, operational controls, and monitoring practices. Supports cost management and resource stewardship through measurable reductions.